## Slide 1: TACWA Presentation Mitigating Wet Weather Impacts on Collection Systems and Facilities
March 27, 2026

## Slide 2
The Wet Weather Problem
Study and Planning Considerations
Technology Overview
Case Studies
Lessons Learned

## Slide 3: Wet Weather Study and Planning

## Slide 5
Stormwater inflow and infiltration can overwhelm a sanitary sewer system and treatment plant
Capacity is impacted with surcharging and rising sewer levels
Excess wastewater can be released into streets and local waterways
SSOs are a national problem
Aging Sewer Systems Can Be Impacted by Storms

## Slide 6
National Experience
Fort Worth, TX
City of Omaha
Great Lakes Water Authority
Northeast Ohio Regional Sewer District
Metropolitan Sewer District of Cincinnati
Allegheny County Sanitary Authority
Pittsburgh Water & Sewer Authority
Nashville Metro Water
New York City DEP
Metropolitan St. Louis Sewer District
City of Indianapolis
Pinellas
Wade Trim Wet Weather Experience

## Slide 7
System characterization
Flow Metering
Hydraulic model development
Alternative optimization
Digital twins
Study and Planning

## Slide 8
System Characterization

## Slide 9
Alternative Optimization

## Slide 10
Support key use cases
Connection to live system data
Forecasting capabilities
Operations advisories
Training and what if planning
Digital Twins

## Slide 11: Technology Overview

## Slide 12
Public and Private I&I control
Storage and conveyance solutions
Smart sewers
Expand capacity of the plant
Combination of the above
Wet Weather Control Strategies

## Slide 13
Storage
Notes: Jeff

## Slide 14
Large Sewer and Tunnels

## Slide 15
Smart Sewer Systems

## Slide 16: Case Studies

## Slide 17: Remote Storage Relief Sewer

## Slide 18
Small neighborhood area
Problems with SSOs and exceeding capacity limitations
Limited siting for storage facilities
Design storm was 25-yr, 24-hr
Kendalwood Relief

## Slide 19
Storage/Relief Sewer Alternative

## Slide 20
Peak Flow Management

## Slide 21
Alternatives and Level of Service

## Slide 22
Storage Relief Sewer Profile Normal Conditions

## Slide 23
Storage Relief Sewer Profile Storm Conditions

## Slide 24: Remote Large Tunnel Storage System

## Slide 25
Allegheny County Sanitary Authority
Provides wastewater treatment services to 83 communities and the City of Pittsburgh
250 million gallons per day WWTP
Currently owns 90 miles of interceptors and 54 miles of trunk sewers.
Significant overflows requiring long term control plan to address

## Slide 26
Tunnel Storage System

## Slide 27: Remote Storage Tank

## Slide 28
Licking River EQ Tank and Pump Stations
Reduce overflows
Size storage facilities to capture excess flow up to the 2-year, 6-hour design storm event
Pump flows from sewer into an above ground storage tank
Hold and release flow back into system when capacity is available
Licking River EQ

## Slide 29
Equalization Tank Facility
Diversion Structure and Future Screen Chamber
Pump Station
Storage Tank
Drain valve and meter pit

## Slide 34: Storage and Pump Station Upgrade at WWTP

## Slide 35
Brush Creek WWTP Upgrade Project
Western Westmoreland Municipal Authority
  12,500 Acres
  WWTP (4.4 MGD, 15 MGD Peak)
  Interceptor sewer (~8 miles)
  Diversion structures (4)
Originally built in 1977
Overflows and back ups

## Slide 36
System Overview

## Slide 37
New Pump Station and EQ Tank at WWTP
45 MGD pump station with Mechanical screens, washer compactor, hopper
  15 MGD to plant
  30 MGD to 7 MG EQ tank

## Slide 38
Lessons Learned
Invest in robust data & modeling: Accurate system characterization is essential for effective, right-sized solutions
Optimize existing infrastructure first: Prioritize operational improvements and capacity upgrades before committing to large capital projects.
Solutions are local: Find the right technology that fits with your conditions to be as simple as possible and cost effective while minimizing long term O&M
Plan collaboratively and adaptively: Engage regulators, municipalities, and the public early; use phased implementation to meet regulatory goals efficiently and affordably.

## Slide 39
?
Dave White, Wet Weather Practice Lead dwhite@wadetrim.com