## Slide 1: Duck Creek WWTP Filter Replacement And UV Disinfection
NOVEMBER 14, 2025
Sam Barraco – Carollo Engineers, Inc.
Brandon Little – Operations Manager

## Slide 2: Agenda
Construction Update
Project Overview
Operations

## Slide 3: Project Overview
01

## Slide 4
FORT WORTH
ROWLETT CREEK WWTP
DALLAS
GARLAND
DUCK CREEK WWTP
City of Garland WWTPs
Notes: Garland has two WWTPs

## Slide 5: Duck Creek Wastewater Treatment Plant
ADF: 40 MGD
P2H: 72 MGD
19
18
17
16
15
14
12
12
13
12
11
9
10
9
8
8
7
6
5
5
3
2
1
4

## Slide 6: Existing process flow diagram
PRIMARY TREATMENT
PRIMARY EFFLUENT SPLITTER
SECONDARY TREATMENT
(TRICKLING FILTER TRAIN)
SECONDARY TREATMENT
(AERATION BASIN TRAIN)
FINAL PUMP STATION
SAND
FILTERS
CHLORINE DISINFECTION
OUTFALL

## Slide 7: Existing process flow diagram
PRIMARY TREATMENT
PRIMARY EFFLUENT SPLITTER
FINAL PUMP STATION
SAND
FILTERS
CHLORINE DISINFECTION
OUTFALL
PROJECT SCOPE
SECONDARY TREATMENT
(TRICKLING FILTER TRAIN)
SECONDARY TREATMENT
(AERATION BASIN TRAIN)

## Slide 8: Proposed process flow diagram
PRIMARY TREATMENT
PRIMARY EFFLUENT SPLITTER
FINAL PUMP STATION
DISK
FILTERS
UV DISINFECTION
OUTFALL
SECONDARY TREATMENT
(TRICKLING FILTER TRAIN)
SECONDARY TREATMENT
(AERATION BASIN TRAIN)
Notes: ……Megadisk filters and UV disinfection……click for next

## Slide 9: The project incorporated wet weather blending
PRIMARY TREATMENT
PRIMARY EFFLUENT SPLITTER
FINAL PUMP STATION
STORM
FILTERS
UV DISINFECTION
OUTFALL
SECONDARY TREATMENT
(TRICKLING FILTER TRAIN)
SECONDARY TREATMENT
(AERATION BASIN TRAIN)

## Slide 10: What is wet weather blending?
Wet weather blending is routing a portion of wastewater flows during a wet weather peak flow event through a non-biological treatment process
PRIMARY TREATMENT
DISINFECTION
OUTFALL
BIOLOGICAL TREATMENT
NON -BIOLOGICAL TREATMENT
and then recombining the flow with the biological treatment effluent before disinfection and final outfall.

## Slide 11: Storm filters are dual-purpose filters
Dual-purpose filters serve as tertiary filtration for the main process as well as non-biological treatment for redirected storm water flow.
PRIMARY TREATMENT
DISINFECTION
OUTFALL
BIOLOGICAL TREATMENT
NON -BIOLOGICAL TREATMENT

## Slide 12: Storm filters are dual-purpose filters
Dual-purpose filters serve as tertiary treatment for the main process as well as non-biological treatment for redirected storm water flow.
PRIMARY TREATMENT
DISINFECTION
OUTFALL
BIOLOGICAL TREATMENT
DUAL-PURPOSE FILTERS

## Slide 13: Does blending meet permit? (TSS)
Secondary Effluent (67%)
TSS: 15 mg/L
Stormwater Flow (33%)
TSS: 183 mg/L
Blended Filter Influent
TSS: 70 mg/L
Effluent Characteristics
TSS: 20 mg/L
Filters
PERMIT:
30 Day – 15 mg/l
7 Day – 25 mg/l
Daily Max – 40 mg/l
Single Grab – 60 mg/l

## Slide 14: Yes, blending meets permit

## Slide 15: Does blending meet permit? (Ammonia)
Secondary Effluent (67%)
NH3: 1 mg/L
Stormwater Flow (33%)
NH3: 7.5 mg/L
Blended Effluent
NH3: 3.1 mg/L
Stormwater (75%)
Sewer (25%)
NH3: 30 mg/L
NH3: 0 mg/L
PERMIT:
30 Day – 5 mg/l
7 Day – 5 mg/L
Daily Max – 7 mg/l
Single Grab – 15 mg/l
Notes: Well below the permit:
7-day average is 25 mg/L TSS
Daily average is 40 mg/L TSS
Single grab sample: 60 mg/L TSS

## Slide 16: Yes, blending meets permit
Notes: Well below the permit:
7-day average is 25 mg/L TSS
Daily average is 40 mg/L TSS
Single grab sample: 60 mg/L TSS

## Slide 17: Project objectives
Replacing aging sand filters
Convert from chlorine to UV disinfection
New pumps on final effluent pump station for new head conditions
Provide ability for wet weather blending to reduce peak flows on secondary treatment
FILTERS/UV
FEPS
PRIMARY EFFLUENT
SAND FILTERS
CHLORINE CONTACT
PRIMARY SPLITTER

## Slide 18: Look Ahead

## Slide 19: Construction Update
02

## Slide 20: Construction update
Bid Date
  November 2023
Bid Amount
  Crescent: $30M
Construction Start
  June 2024
Construction Complete
  August 2026
  METRICS
  Percent Complete
    61% of Time
    68% of Budget
  Contingency Use
    0.75% of Construction
  Quality
    Piers complete with no issues
    Concrete complete with no issues
Notes: Well below the permit:
7-day average is 25 mg/L TSS
Daily average is 40 mg/L TSS
Single grab sample: 60 mg/L TSS

## Slide 21: Construction update – Pump Station
Notes: Well below the permit:
7-day average is 25 mg/L TSS
Daily average is 40 mg/L TSS
Single grab sample: 60 mg/L TSS

## Slide 22: Construction update – Filter/UV
Notes: Well below the permit:
7-day average is 25 mg/L TSS
Daily average is 40 mg/L TSS
Single grab sample: 60 mg/L TSS

## Slide 23: Construction update – Filter/UV
Notes: Well below the permit:
7-day average is 25 mg/L TSS
Daily average is 40 mg/L TSS
Single grab sample: 60 mg/L TSS

## Slide 24: Construction update – Filter/UV
Notes: Well below the permit:
7-day average is 25 mg/L TSS
Daily average is 40 mg/L TSS
Single grab sample: 60 mg/L TSS

## Slide 25: Construction update – Filter/UV
Notes: Well below the permit:
7-day average is 25 mg/L TSS
Daily average is 40 mg/L TSS
Single grab sample: 60 mg/L TSS

## Slide 26: Operations
03

## Slide 27: Current sand filter operations
Lack of capacity
Loss of media
Repair and replace valves
More frequent backwash

## Slide 28: Planning for future disk filter operations
Storm Rated Disk Filter (AquaStorm™)
Image provided by Aqua-Aerobic
Number of basins in operation
Monitoring turbidity
Disk replacement
Cleaning

## Slide 29: Current chlorine disinfection operations
Existing CCB and chemical storage
Safety concerns
8 - 1 ton chlorine cylinders on site
4 - 1 ton SO2 cylinders on site
Changed over every other week
Supply concerns
Cost doubled in last 10 years
Market stresses
Delivery timing

## Slide 30: Planning for future UV disinfection
Regular maintenance, trip to 10 mile creek
There will be 144 Lamps and related parts requiring replacement:
  50 Lamps / year
  7 Ballasts / year
  Sensors, sleeves, wipers, etc
New sample point and increased reporting
No chlorine in plant water

## Slide 31: Wet weather blending
No one wants to bypass secondary treatment
But it provides a big cost savings for future expansions
Plan to monitor influent and effluent TSS and ammonia during wet weather
FILTERS/UV
FEPS
PRIMARY CLARIFIER
PRIMARY EFFLUENT

## Slide 32: Look Ahead
Thank you!
Sam Barraco
SBarraco@carollo.com
Brandon Little
BLittle@garlandtx.gov